## Notes
Date | Sheet | Cell | Row | Comment
2014-07-14 | ELC |  | 36, 78 | Alessandro: added rows 36 and 78 for UCV1_ELEGAS-S
2014-11-12 |  |  |  | Alessandra: changed names of the sets to include *CHP*, which were left out.
2014-11-12 | ELC |  | 37 79 | AlessandrA: added rows 37 and 79 for UCV1_ELECHPCOA-S
Deactivated/removed ELEGOL - set inexistent
NOTE!! | When changing, need to reimport:
Scen_BAU-General.xls
Scen_UC-BuildRates.xls

## ELC
~FI_T
|  | TechName | Comm-OUT | Life | CAP2ACT
|  | UCV1_ELECHPBIO | DUMGrw | 30 | 31.536
|  | UCV1_ELECHPBIO-S | DUMGrw | 30 | 31.536
|  | UCV1_ELECHPCOA | DUMGrw | 30 | 31.536
|  | UCV1_ELECSP | DUMGrw | 30 | 31.536
|  | UCV1_ELEGTD | DUMGrw | 30 | 31.536
|  | UCV1_ELEHYD | DUMGrw | 30 | 31.536
|  | UCV1_ELENUC | DUMGrw | 30 | 31.536
|  | UCV1_ELESPV | DUMGrw | 30 | 31.536
|  | UCV1_ELEWIN | DUMGrw | 30 | 31.536
|  | UCV2_ELECHPBIO | DUMGrw | 30 | 31.536
|  | UCV2_ELECHPBIO-S | DUMGrw | 30 | 31.536
|  | UCV2_ELECHPCOA | DUMGrw | 30 | 31.536
|  | UCV2_ELECSP | DUMGrw | 30 | 31.536
|  | UCV2_ELEGTD | DUMGrw | 30 | 31.536
|  | UCV2_ELEHYD | DUMGrw | 30 | 31.536
|  | UCV2_ELENUC | DUMGrw | 30 | 31.536
|  | UCV2_ELESPV | DUMGrw | 30 | 31.536
|  | UCV2_ELEWIN | DUMGrw | 30 | 31.536
|  | UCV1_T_BioRef | DUMGrw | 30 | 31.536
|  | UCV1_T_BioRef-S | DUMGrw | 30 | 31.536
|  | UCV1_T_H2Prod | DUMGrw | 30 | 31.536
|  | UCV1_T_H2Prod-S | DUMGrw | 30 | 31.536
|  | UCV1_T_SYNFUEL | DUMGrw | 30 | 31.536
|  | UCV2_T_BioRef | DUMGrw | 30 | 31.536
|  | UCV2_T_BioRef-S | DUMGrw | 30 | 31.536
|  | UCV2_T_H2Prod | DUMGrw | 30 | 31.536
|  | UCV2_T_H2Prod-S | DUMGrw | 30 | 31.536
|  | UCV2_T_SYNFUEL | DUMGrw | 30 | 31.536
|  | UCV1_ELECHPGAS-S | DUMGrw | 30 | 31.536
|  | UCV1_ELECHPCOA-S | DUMGrw | 30 | 31.536
MovedToSysSettings
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
ENV | DUMGrw | Dummy tech to model growth rates | PJ
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
PRE | UCV1_ELECHPBIO | Penalty for faster investment in ELECHPBIO -step 1 | PJ | GW
| UCV1_ELECHPBIO-S | Penalty for faster investment in ELECHPBIO-S -step 1 | PJ | GW
| UCV1_ELECHPCOA | Penalty for faster investment in ELECHPCOA -step 1 | PJ | GW
| UCV1_ELECSP | Penalty for faster investment in ELECSP -step 1 | PJ | GW
\I: | UCV1_ELEGOL | Penalty for faster investment in ELEGOL -step 1 | PJ | GW
\I: | UCV1_ELEGOL-S | Penalty for faster investment in ELEGOL-S -step 1 | PJ | GW
| UCV1_ELEGTD | Penalty for faster investment in ELEGTD -step 1 | PJ | GW
| UCV1_ELEHYD | Penalty for faster investment in ELEHYD -step 1 | PJ | GW
| UCV1_ELENUC | Penalty for faster investment in ELENUC -step 1 | PJ | GW
| UCV1_ELESPV | Penalty for faster investment in ELESPV -step 1 | PJ | GW
| UCV1_ELEWIN | Penalty for faster investment in ELEWIN -step 1 | PJ | GW
| UCV2_ELECHPBIO | Penalty for faster investment in ELECHPBIO -step 2 | PJ | GW
| UCV2_ELECHPBIO-S | Penalty for faster investment in ELECHPBIO-S -step 2 | PJ | GW
| UCV2_ELECHPCOA | Penalty for faster investment in ELECHPCOA -step 2 | PJ | GW
| UCV2_ELECSP | Penalty for faster investment in ELECSP -step 2 | PJ | GW
\I: | UCV2_ELEGOL | Penalty for faster investment in ELEGOL -step 2 | PJ | GW
\I: | UCV2_ELEGOL-S | Penalty for faster investment in ELEGOL-S -step 2 | PJ | GW
| UCV2_ELEGTD | Penalty for faster investment in ELEGTD -step 2 | PJ | GW
| UCV2_ELEHYD | Penalty for faster investment in ELEHYD -step 2 | PJ | GW
| UCV2_ELENUC | Penalty for faster investment in ELENUC -step 2 | PJ | GW
| UCV2_ELESPV | Penalty for faster investment in ELESPV -step 2 | PJ | GW
| UCV2_ELEWIN | Penalty for faster investment in ELEWIN -step 2 | PJ | GW
| UCV1_T_BioRef | Penalty for faster investment in T_BioRef -step 1 | PJ | GW
| UCV1_T_BioRef-S | Penalty for faster investment in T_BioRef-S -step 1 | PJ | GW
| UCV1_T_H2Prod | Penalty for faster investment in T_H2Prod -step 1 | PJ | GW
| UCV1_T_H2Prod-S | Penalty for faster investment in T_H2Prod-S -step 1 | PJ | GW
| UCV1_T_SYNFUEL | Penalty for faster investment in T_SYNFUEL -step 1 | PJ | GW
| UCV2_T_BioRef | Penalty for faster investment in T_BioRef -step 2 | PJ | GW
| UCV2_T_BioRef-S | Penalty for faster investment in T_BioRef-S -step 2 | PJ | GW
| UCV2_T_H2Prod | Penalty for faster investment in T_H2Prod -step 2 | PJ | GW
| UCV2_T_H2Prod-S | Penalty for faster investment in T_H2Prod-S -step 2 | PJ | GW
| UCV2_T_SYNFUEL | Penalty for faster investment in T_SYNFUEL -step 2 | PJ | GW
| UCV1_ELECHPGAS-S | Penalty for faster investment in ELECHPGAS-S -step 1 | PJ | GW
| UCV1_ELECHPCOA-S | Penalty for faster investment in ELECHPCOA-S -step 1 | PJ | GW
Note on B42: Csets declarations are inherited until the next one is encountered. Possible Cset: NRG (Energy) ENV (Emission) DEM (Demand) MAT (Material) FIN (Financial)
Note on F42: Possible Lim Type UP (upper for >=) LO (Lower for <=) FX (Fix for =)
Note on G42: Possible CTSLvl SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on H42: Possible PeakTS ANNUAL (to generate Peak Equation for all the TimeSlices) User TS (to generate Peak Equation for a single TS)
Note on I42: Possible Ctype ELC (Electricity)
Note on G47: Possible TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I47: Possible Vintage NO (if empty by default mean NO) YES

## IND
*Declare and characterize the new technologies by sector. Sheet names should indicate the sector as <SectorName>_<Anything>
New Processes |  |  |  |  | ~FI_T
TechName | TechDesc | Comm-IN-A | Comm-IN | Comm-OUT-A | Comm-OUT | START | EFF | Input | Output | AFA | Life | CAP2ACT | INVCOST | FIXOM | VAROM | CEH | CHPR
\I:Technology Name | Technology Description | Auxiliary Input Commodity | Input Commodity | Auxiliary Output Commodity | Output Commodity | Starting Year | Efficiency | Fuel input level | Fuel Output level | Annual Availability Factor | Lifetime of Process | Capacity to Activity Factor | Investment Cost | Fixed O&M Cost | Variable O&M Cost | Ratio of electricity lost to output gained | Output to Power Ratio
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
\I: Commodity Set Membership | Commodity Name | Commodity Description | Unit | Balance Equ Type Override | Timeslice Tracking Level | Peak Monitoring | Electricity Indicator
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
\I: Process Set Membership | Technology Name | Technology Description | Activity Unit | Capacity Unit | Timeslice Operational Level | Operational Commodity Group | Vintage Tracking
~COMEMI
CommName | <Fuel Name> | <Fuel Name> | <Fuel Name> | <more fuel commodities>
\I:Units
<more emission commodities here>
~COMAGG
CommName | <Emission Commodiy Name> | <Emission Commodiy Name> | <Emission Commodiy Name> | <more emission commodities here>
Note on D7: Comm-IN-A indicates an auxillary input, thus not consider with respect the efficiency
Note on F7: Comm-OUT-A indicates an auxillary input, thus not consider with respect the efficiency
Note on S7: This attribute is used for Combined Heat and Power Technologies By defautt is defined like fixed share FX. If you want upper or lower add ~UP ~LO
Note on B15: Csets declarations are inherited until the next one is encountered. Possible Cset: NRG (Energy) ENV (Emission) DEM (Demand) MAT (Material) FIN (Financial)
Note on F15: Possible Lim Type UP (upper for >=) LO (Lower for <=) FX (Fix for =)
Note on G15: Possible CTSLvl SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on H15: Possible PeakTS ANNUAL (to generate Peak Equation for all the TimeSlices) User TS (to generate Peak Equation for a single TS)
Note on I15: Possible Ctype ELC (Electricity)
Note on G22: Possible TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I22: Possible Vintage NO (if empty by default mean NO) YES
Note on B23: Sets declarations are NOT inherited. Possible Process Sets ELE (Thermal Electric Power Plant) CHP (Combined Heat and Power) STGTSS (Pump Storage) PRE (Genric Process/Technology) DMD (Demand Device) IMP (Import) EXP (Export) MIN (Mining Process) RNW (Renewable Technology) HPL (Heating Plant)
Note on B28: Fill in this column with the name of your commodity emission defined in the SEC_COMM sheet
Note on B35: Table to aggregate emissions commodities defined in the previous table .

## RES
*Declare and characterize the new technologies by sector. Sheet names should indicate the sector as <SectorName>_<Anything>
New Processes |  |  |  |  | ~FI_T
TechName | TechDesc | Comm-IN-A | Comm-IN | Comm-OUT-A | Comm-OUT | START | EFF | Input | Output | AFA | Life | CAP2ACT | INVCOST | FIXOM | VAROM | CEH | CHPR
\I:Technology Name | Technology Description | Auxiliary Input Commodity | Input Commodity | Auxiliary Output Commodity | Output Commodity | Starting Year | Efficiency | Fuel input level | Fuel Output level | Annual Availability Factor | Lifetime of Process | Capacity to Activity Factor | Investment Cost | Fixed O&M Cost | Variable O&M Cost | Ratio of electricity lost to output gained | Output to Power Ratio
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
\I: Commodity Set Membership | Commodity Name | Commodity Description | Unit | Balance Equ Type Override | Timeslice Tracking Level | Peak Monitoring | Electricity Indicator
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
\I: Process Set Membership | Technology Name | Technology Description | Activity Unit | Capacity Unit | Timeslice Operational Level | Operational Commodity Group | Vintage Tracking
~COMEMI
CommName | <Fuel Name> | <Fuel Name> | <Fuel Name> | <more fuel commodities>
\I:Units
<more emission commodities here>
~COMAGG
CommName | <Emission Commodiy Name> | <Emission Commodiy Name> | <Emission Commodiy Name> | <more emission commodities here>
Note on D7: Comm-IN-A indicates an auxillary input, thus not consider with respect the efficiency
Note on F7: Comm-OUT-A indicates an auxillary input, thus not consider with respect the efficiency
Note on S7: This attribute is used for Combined Heat and Power Technologies By defautt is defined like fixed share FX. If you want upper or lower add ~UP ~LO
Note on B15: Csets declarations are inherited until the next one is encountered. Possible Cset: NRG (Energy) ENV (Emission) DEM (Demand) MAT (Material) FIN (Financial)
Note on F15: Possible Lim Type UP (upper for >=) LO (Lower for <=) FX (Fix for =)
Note on G15: Possible CTSLvl SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on H15: Possible PeakTS ANNUAL (to generate Peak Equation for all the TimeSlices) User TS (to generate Peak Equation for a single TS)
Note on I15: Possible Ctype ELC (Electricity)
Note on G22: Possible TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I22: Possible Vintage NO (if empty by default mean NO) YES
Note on B23: Sets declarations are NOT inherited. Possible Process Sets ELE (Thermal Electric Power Plant) CHP (Combined Heat and Power) STGTSS (Pump Storage) PRE (Genric Process/Technology) DMD (Demand Device) IMP (Import) EXP (Export) MIN (Mining Process) RNW (Renewable Technology) HPL (Heating Plant)
Note on B28: Fill in this column with the name of your commodity emission defined in the SEC_COMM sheet
Note on B35: Table to aggregate emissions commodities defined in the previous table .

## TRA
*Declare and characterize the new technologies by sector. Sheet names should indicate the sector as <SectorName>_<Anything>
New Processes |  |  |  |  | ~FI_T
TechName | TechDesc | Comm-IN-A | Comm-IN | Comm-OUT-A | Comm-OUT | START | EFF | Input | Output | AFA | Life | CAP2ACT | INVCOST | FIXOM | VAROM | CEH | CHPR
\I:Technology Name | Technology Description | Auxiliary Input Commodity | Input Commodity | Auxiliary Output Commodity | Output Commodity | Starting Year | Efficiency | Fuel input level | Fuel Output level | Annual Availability Factor | Lifetime of Process | Capacity to Activity Factor | Investment Cost | Fixed O&M Cost | Variable O&M Cost | Ratio of electricity lost to output gained | Output to Power Ratio
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
\I: Commodity Set Membership | Commodity Name | Commodity Description | Unit | Balance Equ Type Override | Timeslice Tracking Level | Peak Monitoring | Electricity Indicator
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
\I: Process Set Membership | Technology Name | Technology Description | Activity Unit | Capacity Unit | Timeslice Operational Level | Operational Commodity Group | Vintage Tracking
~COMEMI
CommName | <Fuel Name> | <Fuel Name> | <Fuel Name> | <more fuel commodities>
\I:Units
<more emission commodities here>
~COMAGG
CommName | <Emission Commodiy Name> | <Emission Commodiy Name> | <Emission Commodiy Name> | <more emission commodities here>
Note on D7: Comm-IN-A indicates an auxillary input, thus not consider with respect the efficiency
Note on F7: Comm-OUT-A indicates an auxillary input, thus not consider with respect the efficiency
Note on S7: This attribute is used for Combined Heat and Power Technologies By defautt is defined like fixed share FX. If you want upper or lower add ~UP ~LO
Note on B15: Csets declarations are inherited until the next one is encountered. Possible Cset: NRG (Energy) ENV (Emission) DEM (Demand) MAT (Material) FIN (Financial)
Note on F15: Possible Lim Type UP (upper for >=) LO (Lower for <=) FX (Fix for =)
Note on G15: Possible CTSLvl SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on H15: Possible PeakTS ANNUAL (to generate Peak Equation for all the TimeSlices) User TS (to generate Peak Equation for a single TS)
Note on I15: Possible Ctype ELC (Electricity)
Note on G22: Possible TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I22: Possible Vintage NO (if empty by default mean NO) YES
Note on B23: Sets declarations are NOT inherited. Possible Process Sets ELE (Thermal Electric Power Plant) CHP (Combined Heat and Power) STGTSS (Pump Storage) PRE (Genric Process/Technology) DMD (Demand Device) IMP (Import) EXP (Export) MIN (Mining Process) RNW (Renewable Technology) HPL (Heating Plant)
Note on B28: Fill in this column with the name of your commodity emission defined in the SEC_COMM sheet
Note on B35: Table to aggregate emissions commodities defined in the previous table .

## UPS
*Declare and characterize the new technologies by sector. Sheet names should indicate the sector as <SectorName>_<Anything>
New Processes |  |  |  |  | ~FI_T
TechName | TechDesc | Comm-IN-A | Comm-IN | Comm-OUT-A | Comm-OUT | START | EFF | Input | Output | AFA | Life | CAP2ACT | INVCOST | FIXOM | VAROM | CEH | CHPR
\I:Technology Name | Technology Description | Auxiliary Input Commodity | Input Commodity | Auxiliary Output Commodity | Output Commodity | Starting Year | Efficiency | Fuel input level | Fuel Output level | Annual Availability Factor | Lifetime of Process | Capacity to Activity Factor | Investment Cost | Fixed O&M Cost | Variable O&M Cost | Ratio of electricity lost to output gained | Output to Power Ratio
~FI_Comm
Csets | CommName | CommDesc | Unit | LimType | CTSLvl | PeakTS | Ctype
\I: Commodity Set Membership | Commodity Name | Commodity Description | Unit | Balance Equ Type Override | Timeslice Tracking Level | Peak Monitoring | Electricity Indicator
~FI_Process
Sets | TechName | TechDesc | Tact | Tcap | Tslvl | PrimaryCG | Vintage
\I: Process Set Membership | Technology Name | Technology Description | Activity Unit | Capacity Unit | Timeslice Operational Level | Operational Commodity Group | Vintage Tracking
~COMEMI
CommName | <Fuel Name> | <Fuel Name> | <Fuel Name> | <more fuel commodities>
\I:Units
<more emission commodities here>
~COMAGG
CommName | <Emission Commodiy Name> | <Emission Commodiy Name> | <Emission Commodiy Name> | <more emission commodities here>
Note on D7: Comm-IN-A indicates an auxillary input, thus not consider with respect the efficiency
Note on F7: Comm-OUT-A indicates an auxillary input, thus not consider with respect the efficiency
Note on S7: This attribute is used for Combined Heat and Power Technologies By defautt is defined like fixed share FX. If you want upper or lower add ~UP ~LO
Note on B15: Csets declarations are inherited until the next one is encountered. Possible Cset: NRG (Energy) ENV (Emission) DEM (Demand) MAT (Material) FIN (Financial)
Note on F15: Possible Lim Type UP (upper for >=) LO (Lower for <=) FX (Fix for =)
Note on G15: Possible CTSLvl SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on H15: Possible PeakTS ANNUAL (to generate Peak Equation for all the TimeSlices) User TS (to generate Peak Equation for a single TS)
Note on I15: Possible Ctype ELC (Electricity)
Note on G22: Possible TsLvl ANNUAL (Annual level) SEASON (Seasonal level) WEEKLY (Weekly level) DAYNITE (day and night level)
Note on I22: Possible Vintage NO (if empty by default mean NO) YES
Note on B23: Sets declarations are NOT inherited. Possible Process Sets ELE (Thermal Electric Power Plant) CHP (Combined Heat and Power) STGTSS (Pump Storage) PRE (Genric Process/Technology) DMD (Demand Device) IMP (Import) EXP (Export) MIN (Mining Process) RNW (Renewable Technology) HPL (Heating Plant)
Note on B28: Fill in this column with the name of your commodity emission defined in the SEC_COMM sheet
Note on B35: Table to aggregate emissions commodities defined in the previous table .